## Intro
SARS-CoV-2 | Aerosol-Indoor-Simulator | Version 1.2 | <C> Dr. med. Andreas Paaßen
Assessment of risks and protective measures for free-floating aerosols in indoor environments
without consideration of social contacts
No prediction of diseases
The evaluation of the room situation depends on the amount of aerosol released
from an infectious source. There are large individual differences.
The 80th percentile of infectious individuals is used for the assessment. This means
hat the assessment is accurate for the ratios of more than 80% of cases. In the case of so-called
superspreading events, significantly higher aerosol quantities can also be released.
The assessment is based on the assumption that aerosols are equally distributed in space at all times.
Risks arising from proximity to the source are not considered.
These are to be determined in the corona simulator.

## Simulation
Aerosol-Indoor-Simulator | [6 empty] | Version 1.2 | <C> Dr. med. Andreas Paaßen
Source |  |  | Raum |  |  |  | Free ventilation |  |  | Assessment |  |  | Results
Speaking*: | Silence | 10 | Room area*: |  | m2 |  | Outdoor temp.*: | 10-17 | Celsius |  | risky |  | Effective virus emission: | 10 | Virions/min
Activity*: | active rest | 8 | Height*: |  | m |  | Ventilation type: | No | 0 | #DIV/0! |  | #DIV/0! | Eff. air exchange rate: | 1.22 | /h
Mask*: | No | 1 |  |  |  |  | Duration: | 1 | min. | #DIV/0! |  | #DIV/0! | = | 0 | m3/min
Time before the recipient |  |  | Room Volume: | 0 | m3 | #REF! | Interval: | 1 | min. | #DIV/0! |  | #DIV/0! | incl. virus losses: | 0.92 | /h
enters the room*: | 0 | min. |  |  |  |  | Window/door area | 1 | m2 | #DIV/0! |  | #DIV/0! | Virus concentration room: | #DIV/0! | Virions/m3 | #DIV/0!
[7 empty] | Air exchange rate: | 0 | /h | #DIV/0! |  | #DIV/0! |  |  |  |  | 0
Recipient |  |  | Air conditioning/ Ventilation |  |  |  | Ventilation type: | No | 0 | #DIV/0! |  | #DIV/0! | Intake recipient: | #DIV/0! | Virions | #DIV/0! | #DIV/0!
[7 empty] | Duration: | 1 | min. | #DIV/0! |  | #DIV/0! | Infektion risk: | #DIV/0! | % 80th Percen.
Activity*: | active rest | 8 | Air exchange rate fresh air fraction: |  | 0 | /h | Interval: | 1 | min. | #DIV/0! |  | #DIV/0!
Mask*: |  | #N/A |  |  |  |  | Window/door area |  | m2 | #DIV/0! |  | #DIV/0! | Hints
Common time in the |  |  | Air exchange rate via filtering/ UV radiation |  |  |  | Air exchange rate: | 0 | /h | #DIV/0! |  | #DIV/0! | Air currents can transport aerosols from one |  |  |  | 0
room with source*: | 0 | min. | - with efficient airflow: |  | 0 | /h | Ventilation type: | No | 0 | #DIV/0! |  | #DIV/0! | person to another. Pay attention to position!
[7 empty] | Duration: | 1 | min. | #DIV/0! |  | #DIV/0!
Virus Variants |  |  | - with simple airflow (mobile): |  | 0 | /h | Interval: |  | min. | #DIV/0! |  | #DIV/0!
Virus Variants*: | B 1.617.2 Delta | 42 | 0 | m3/min |  |  | Window/door area |  | m2 |  | Good
[7 empty] | Air exchange rate: | 0 | /h | [7 empty] | 0
Note on G6: Width * Depth of the room
Note on L6: The intensity of air exchange depends on the temperature difference of the room from the outside air.
Note on L8: Duration of the ventilation measure carried out. In case of continuous ventilation, indicate total duration.
Note on L9: In the case of short-term ventilation, the ventilation interval indicates the time intervals at which the ventilation measure is repeated. For continuous ventilation, the ventilation interval = ventilation duration.
Note on C10: The duration of the source's stay in the room before the receiver arrives. During this time, the virus concentration in the room is increased, so that when the receiver arrives, there is already an increased virus concentration.
Note on L10: Calculation Window area: window height x window width Door area: door height x door width Window tilt area: Gap width x (window height + window width) total area: sum of single window/door areas and window tilt areas
Note on L13: Duration of the ventilation measure carried out. In case of continuous ventilation, indicate total duration.
Note on H14: The air exchange rate refers to the change of room volume per hour. If the exchanged air volume in m3 is known, divide it by the room volume and refer to 1 hour.
Note on L14: In the case of short-term ventilation, the ventilation interval indicates the time intervals at which the ventilation measure is repeated. For continuous ventilation, the ventilation interval = ventilation duration.
Note on L15: Calculation Window area: window height x window width Door area: door height x door width Window tilt area: Gap width x (window height + window width) total area: sum of single window/door areas and window tilt areas
Note on C17: The duration of the joint stay of source and recipient. If the source is already in the room before the recipient arrives, the time must be recorded in line 10.
Note on H17: The air exchange rate refers to the change of room volume per hour. If the exchanged air volume in m3 is known, divide it by the room volume and refer to 1 hour.
Note on L18: Duration of the ventilation measure carried out. In case of continuous ventilation, indicate total duration.
Note on H19: The air exchange rate refers to the change of room volume per hour. If the exchanged air volume in m3 is known, divide it by the room volume and refer to 1 hour.
Note on L19: In the case of short-term ventilation, the ventilation interval indicates the time intervals at which the ventilation measure is repeated. For continuous ventilation, the ventilation interval = ventilation duration.
Note on L20: Calculation Window area: window height x window width Door area: door height x door width Window tilt area: Gap width x (window height + window width) total area: sum of single window/door areas and window tilt areas

## Mobile device
Mobile units with simple airflow draw in the room air at one point, clean the air via HEPA filters
or UV-C radiation and blow it out again without any special precautions for airflow in the room.
Tests have shown that the cleaning performance due to the re-suction of already cleaned air is extremely good
in the vicinity of the unit, but deteriorates with increasing distance. This results in a permanent, highly different distribution
of aerosols in the room. The efficiency can drop considerably due to the re-suction of already cleaned air.
In practice, it can be assumed that in the immediate
vicinity of the air purification unit there is a very high
purification efficiency. At a greater distance, e.g. over 2 m,
the effect can only be assessed with uncertainty.

## FAQ
FAQ
What does the assessment show in the simulator?
The rating indicates good ventilation with low concentrations of active viruses (virions) with reference to blue and green coloring. An indoor air with a
higher concentration of virions is displayed in the red area. Due to the many influencing factors, there is no precise limit value.
Therefore, a transition zone from green to red is displayed. In summary, the greener the color scheme, the better the ventilation.
What does the 80th percentile mean?
Risks from indoor aerosols are determined by many different factors. Among them are physical factors in aerosol formation and air currents.
Other factors are person-related and show very considerable individual differences such as, in the case of the source, the current infectivity or virus excretion and
the recipient's current susceptibility to infection. Because of this uncertainty, the person-related factors are considered in such a way that for each factor the value
is assumed in which at least 80% of the possible values of the distribution lie. Since this assumption is made for each factor, when combined with a
coverage of significantly more than 80% of the possible cases. In concrete terms, this means that in rare cases (<20%), superspreaders can also have significantly higher
risks of infection cannot be ruled out. As a rule, more than 80% of cases have a lower risk of infection up to a maximum of the specified risk.
What is the significance of the number of people in the room?
Basically, the 7-day incidence rate indicates the probability that persons may be infectious. With an incidence of 100, 1 infectious person per 1,000 is currently expected.
This risk applies to each person in the room, so multiply the incidence rate by the number of people. In this indoor simulator, the individuelle
risk of infection is calculated for the case that there is an infectious person (source) in the room. This risk is not affected by the total number of people.
Is it useful to perform C02 measurements?
The individual risk of infection depends exclusively on the virus concentration in the room. The Co2 value depends exclusively on the number of people.
Therefore, the CO2 value is not a measure of the risk of infection. Much more precise is the control by fixed ventilation times, which can be determined in this simulator.
What is the difference between one-sided ventilation and cross ventilation?
One-sided ventilation is ventilation via supply and exhaust air openings in one outer wall. In the case of cross ventilation, the openings are in opposite exterior walls.
Because of the chimney effect, cross ventilation is significantly more effective. Ventilations can be carried out continuously (tilting windows) or briefly as shock ventilation.
The required duration of ventilation depends on the temperature differences between the room and the outside air.

## Literature
Literature on the adaptation of calculations
1. | Evans et al., 2020; Avoiding COVID-19: Aerosol guidelines; Department of Physics, Massachusetts Institute of Technology, Cambridge
2. | Miller et al., 2020; Transmission of SARS-CoV-2 by inhalation of respiratory aerosol in the Skagit Valley Chorale superspreading event
3. | Bazant et al. ,2020; Beyond Six Feet: A Guideline to Limit Indoor Airborne Transmission of COVID-19;
Department of Chemical Engineering, Department of Mathematics, Massachusetts Institute of Technology, Cambridge
4. | Atkinson et al., 2009: Natural Ventilation for Infection Control in Health-Care Settings; World Health Organization
5. | Paul Hewett, Exposure Assessment Solutions, Inc. (www.easinc.co)

## Settings (hidden)
Speaking | Virions/min. | Activity | Minute ventilation | Masks | Filter effect | Leakage | Effectivity ex | Effectivity in | Ventilation type | AER /h | Virus Variants | Infektion dose
Silence | 10 | active rest | 8 | No | 0 | 100 | 1 | 1 | No | 0 | Wild type | 100
Normal portion 20% | 28 | light | 20 | FFP1 without valve | 0.8 | 0.264 | 0.4112 | 0.4112 | Windows tilted | 1.5 | B 1.1.7 England | 59
Normal portion 40% | 46 | medium | 40 | FFP1 with valve | 0.8 | 0.264 | 1 | 0.4112 | One side ventilation | 15 | B 1.351 South Africa | 66
Normal portion 60% | 64 | heavy | 60 | FFP2 without valve | 0.94 | 0.096 | 0.15024 | 0.15024 | Cross ventilation | 40 | B 1.617.2 Delta | 42
Normal portion 80% | 82 |  |  | FFP2 with valve | 0.94 | 0.096 | 1 | 0.15024
Normal portion 100% | 100 |  |  | FFP3 without valve | 0.99 | 0.024 | 0.03376 | 0.03376 |  |  | Virus loss rate | 0.62
Loud portion 20% | 112 |  |  | FFP3 with valve | 0.99 | 0.024 | 1 | 0.03376 |  |  | Collision rate | 0.3
Loud portion 40% | 184 |  |  | Medical mask | 0.84 | 0.52 | 0.5968 | 0.5968
Loud portion 60% | 256 |  |  | Cloth mask | 0.3 | 0.65 | 0.895 | 0.895
Loud portion 80% | 328 |  |  | Complete leakage | 0 | 1 | 1 | 1
Loud portion 100% | 400 |  |  | Face visor | 0 | 1 | 1 | 1
|  |  |  | P1-Filter and half mask | 0.8 | 0.02 | 0.216 | 0.216
|  |  |  | P2-Filter and half mask | 0.94 | 0.02 | 0.0788 | 0.0788
|  |  |  | P3-Filter and half mask | 0.9995 | 0.02 | 0.02049 | 0.02049
|  |  |  | P1-Filter and full mask | 0.8 | 0.0005 | 0.2004 | 0.2004
|  |  |  | P2-Filter and full mask | 0.94 | 0.0005 | 0.06047 | 0.06047
|  |  |  | P3-Filter and full mask | 0.9995 | 0.0005 | 0.00099975 | 0.00099975
|  |  |  | P-Supplied Air Resp. TH1 | 0.9995 | 0.1 | 1 | 0.10045
|  |  |  | P-Supplied Air Resp. TH2 | 0.9995 | 0.02 | 1 | 0.02049
|  |  |  | P-Supplied Air Resp. TH3 | 0.9995 | 0.002 | 1 | 0.002499
|  |  |  | Insulation device | 1 | 0.0005 | 0.0005 | 0.0005